[Item: …………..]

mGuide

Railing mGuide
Passenger guidance system for installation in parallel to mTripod turnstile pedestrian gate or as boundary between controlled section and open accessible section.

- Frame material: stainless steel

- Glass panels made of single-layer safety glass (ESG), laminated safety glass (VSG) or acrylic glass

- Barrier width customized between 40 up to 1300 mm

- Dimensions (H x D): 1000/1200/1500/1800 x 10 mm (Diameter 105 mm at base socket)

Design:

Empty housing:

- Design enclosure with flowing lines, slim silhouette and soft shapes.

- No visible connecting elements

- Elegant colour design in basalt anthracite

- Optional: customised paint finishes

Railing system:

Elegant stainless steel frames, optionally with glass elements

Installation:

- Screw mounting on stable floor surface

- Alternative mounting on unfinished floor by use of adjustable foundation frame (see accessories)

- Alternative glue mounting by use of a metal base plate (see accessories)

- Paving stone mounting (see accessories)

Temperature range: 		-30 to +55 °C

Weight:				depending on configuration

Installation execution by manufacturer trained installation specialist, mounting instructions

FlowMotion housing, without BSS100

[Item: …………..]

Option mGuide FlowMotion® housing long, as guiding element including BP100 (mounting set) in standard colour (matching design mTripod)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GFM100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide FlowMotion® housing long, as guiding element including BP100 (mounting set) in special colour (matching design mTripod)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GFM1X0

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Guiding fixed length, assembled, without BSS101

[Item: …………..]

Option mGuide railing with banister and knee-bar, assembled

L = 1300 mm / H = 870 mm / M = 1258 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBK100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide railing with banister and knee-bar, assembled

L = 1300 mm / H = 1000 mm / M = 1258 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBK101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Post with channel (without glass), assembly on site, without BSS101

Option post for either end of mGuide with glass panel (1 piece) / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGPA100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option post for either end of mGuide with glass panel (1 piece) / H > 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGPA101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option center post for mGuide with glass panel / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGPM100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option center post for mGuide with glass panel / H > 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGPM101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Glass panels for posts with channel

[Item: …………..]

Option mGuide tempered safety glass with L = 1300 mm / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGE100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide laminated safety glass with L = 1300 mm / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGV100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide tempered safety glass with L = 1300 mm / H = 1200 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGE101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide laminated safety glass with L = 1300 mm / H = 1200 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGV101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide tempered safety glass with L = 1300 mm / H = 1500 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGE102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide laminated safety glass with L = 1300 mm / H = 1500 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGV102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide tempered safety glass with L = 1300 mm / H = 1800 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGE103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide laminated safety glass with L = 1300 mm / H = 1800 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGV103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide tempered safety glass with L = X mm / H = X mm (max. H = 1800 mm / max. L = 1300 mm)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGE10X

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mGuide laminated safety glass with L = X mm / H = X mm (max. H = 1800 mm / max. L = 1300 mm)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GGV10X

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Guiding with knee-rail, assembly on site, without BSS101 / KLBG100 / UR01

[Item: …………..]

Option post for either end of mGuide with hand- and knee-rail (1 piece) / H = 870 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBAK100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option post for either end of mGuide with hand- and knee-rail (1 piece) / H = 870 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBMK100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option post for either end of mGuide with hand- and knee-rail (1 piece) / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBAK101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option post for either end of mGuide with hand- and knee-rail (1 piece) / H = 870 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBMK101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option Banister / knee bar for mGuide / L = 1300 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBHL100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Guiding for glass panel, elements for own configuration, assembly on site, without BSS101 / KLBG100 / UR01

[Item: …………..]

Option post for either end of mGuide with hand-rail and glass panel (1 piece) / H = 870 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type:	 	GBAF100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option center post for mGuide with hand-rail and glass panel (1 piece) / H = 870 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBMF100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option post for either end of mGuide with hand-rail and glass panel (1 piece) / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBAF101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option center post for mGuide with hand-rail and glass panel (1 piece) / H = 1000 mm

Hersteller:	Magnetic Autocontrol GmbH

Typ: 	GBMF101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option Banister / knee bar for mGuide / L = 1300 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBHL100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option corner post for mGuide with hand-rail and glass panel (1 piece) / H = 870 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBCF100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option corner post for mGuide with hand-rail and glass panel (1 piece) / H = 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBCF101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Glass panels for railing

[Item: …………..]

Option tempered safety glass for inlay mGuide / H = 870 mm L = 1300 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBEF100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option laminated safety glass for inlay mGuide / H = 870 mm L = 1300 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBVF100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option tempered safety glass for inlay mGuide / H = 1000 mm L = 1300 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBEF101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option laminated safety glass for inlay mGuide / H = 1000 mm L = 1300 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBVF101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option tempered safety glass for inlay mGuide / H = 870 mm L = X mm (max. L = 1300 mm)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBEF100X

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option laminated safety glass for inlay mGuide / H = 870 mm L = X mm (max. L = 1300 mm)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBVF100X

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option tempered safety glass for inlay mGuide / H = 1000 mm L = X mm (max. L = 1300 mm)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBEF101X

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option laminated safety glass for inlay mGuide / H = 1000 mm L = X mm (max. L = 1300 mm)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		GBVF101X

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Accessories

[Item: …………..]

Option mounting set for installation on finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option fastening set for one guiding post at finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS101

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glueLOXEAL 83-21, 10 ml

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		KLBG100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option cleaner

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		UR01

Menge Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..