Terminals for passenger car traffic

[Item: …………..]

Option free-standing housing Terminal-MS for passenger car entry

Following the design of the MHTM™ MicroDrive barrier housing, suitable for installation of on-site intercom and access control systems.

Front panel with telescopic slide-out, powder-coated aluminium housing, stainless steel base, side panels and hood in Yellow orange (RAL 2000), in white aluminium (similar to RAL 9006) or in grey aluminium (similar to RAL 9007), doors always in Black grey (RAL 7021)

Optionally available in colour combinations according to the client's wishes

| Installation surface max: | 209 x 337 mm |
| --- | --- |
| Installation depth max: | 220 mm |
| Dimensions (W x D x H): | 296 mm x 266 mm x 1.202 mm |
| Housing: | powder-coated aluminium |
| Base area: | Stainless steel |
| Weight: | 15 kg |
| IP rating: | IP 54 |

Assembly: Install on on-site concrete foundation by means of 4 adhesive anchors.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | TERMINAL-MS-A000 in Yellow orange (RAL 2000) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MS-A100 in Grey aluminium (RAL 9007) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MS-A200 in White aluminium (RAL 9006) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option attachment set BSS01

Installation material for screwing a barrier / a terminal / a post to the concrete foundation, consisting of 4 adhesive cartridges and screwing parts.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | BSS01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option free-standing housing Terminal-MH for passenger car entry

Following the design of the MHTM™ MicroDrive barrier housing, suitable for installation of on-site intercom and access control systems.

Front panel with telescopic slide-out, powder-coated aluminium housing, stainless steel base, side panels and hood in Yellow orange (RAL 2000), in white aluminium (similar to RAL 9006) or in grey aluminium (similar to RAL 9007), doors always in Black grey (RAL 7021)

Optionally available in colour combinations according to the client's wishes

| Installation surface max: | 209 x 487 mm |
| --- | --- |
| Installation depth max: | 220 mm |
| Dimensions (W x D x H): | 296 mm x 266 mm x 1.202 mm |
| Housing: | powder-coated aluminium |
| Base area: | Stainless steel |
| Weight: | 15 kg |
| IP rating: | IP 54 |

Assembly: Install on on-site concrete foundation by means of 4 adhesive anchors

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | TERMINAL-MH-A000 in Yellow orange (RAL 2000) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MH-A100 in Grey aluminium (RAL 9007) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MH-A200 in White aluminium (RAL 9006) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option attachment set BSS01

Installation material for screwing a barrier / a terminal / a post to the concrete foundation, consisting of 4 adhesive cartridges and screwing parts.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | BSS01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option free-standing housing Terminal-MXL for passenger car entry

Following the design of the MHTM™ MicroDrive barrier housing, suitable for installation of on-site intercom and access control systems.

Front panel with telescopic slide-out, powder-coated aluminium housing, stainless steel base, side panels and hood in Yellow orange (RAL 2000), in white aluminium (similar to RAL 9006) or in grey aluminium (similar to RAL 9007), doors always in Black grey (RAL 7021)

Optionally available in colour combinations according to the client's wishes

| Installation surface max: | 310 x 705 mm |
| --- | --- |
| Installation depth max: | 310 mm |
| Dimensions (W x D x H): | 497 mm x 367 mm x 1.496 mm |
| Housing: | powder-coated aluminium |
| Base area: | Stainless steel |
| Weight: | 56 kg |
| IP rating: | IP 54 |

Assembly: Install on on-site concrete foundation by means of 4 adhesive anchors.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | TERMINAL-MXL-A000 in Yellow orange (RAL 2000) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MXL-A100 in Grey aluminium (RAL 9007) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MXL-A200 in White aluminium (RAL 9006) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option attachment set BSS01

Installation material for screwing a barrier / a terminal / a post to the concrete foundation, consisting of 4 adhesive cartridges and screwing parts.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | BSS01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

Terminals for mixed passenger car and truck traffic

[Item: …………..]

Option free-standing housing Terminal-ML for combined passenger car / truck entry

Following the design of the MHTM™ MicroDrive barrier housing, suitable for installation of on-site intercom and access control systems in two heights (car / truck).

Front panels with telescopic slide-outs, powder-coated aluminium housing, stainless steel base, side panels and hood in Yellow orange (RAL 2000), in white aluminium (similar to RAL 9006) or in grey aluminium (similar to RAL 9007), doors always in Black grey (RAL 7021)

Optionally available in colour combinations according to the client's wishes

| Installation (2 x) surface max: | 209 x 337 mm |
| --- | --- |
| Installation depth max: | 220 mm |
| Dimensions (W x D x H): | 296 mm x 266 mm x 2.202 mm |
| Housing: | powder-coated aluminium |
| Base area: | Stainless steel |
| Weight: | 27 kg |
| IP rating: | IP 54 |

Assembly: Install on on-site concrete foundation by means of 4 adhesive anchors.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | TERMINAL-ML-A000 in Yellow orange (RAL 2000) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-ML-A100 in Grey aluminium (RAL 9007) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-ML-A200 in White aluminium (RAL 9006) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option attachment set BSS01

Installation material for screwing a barrier / a terminal / a post to the concrete foundation, consisting of 4 adhesive cartridges and screwing parts.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | BSS01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option free-standing housing Terminal-MXXL for combined passenger car / truck entry

Following the design of the MHTM™ MicroDrive barrier housing, suitable for installation of on-site intercom and access control systems.

Full-length front panel with telescopic slide-out, powder-coated aluminium housing, stainless steel base, side panels and hood in Yellow orange (RAL 2000), in white aluminium (similar to RAL 9006) or in grey aluminium (similar to RAL 9007), doors always in Black grey (RAL 7021)

Optionally available in colour combinations according to the client's wishes

| Installation surface max: | 310 x 2,000 mm |
| --- | --- |
| Installation depth max: | 310 mm |
| Dimensions (W x D x H): | 497 mm x 367 mm x 2.795 mm |
| Housing: | powder-coated aluminium |
| Base area: | Stainless steel |
| Weight: | 92 kg |
| IP rating: | IP 54 |

Assembly: Install on on-site concrete foundation by means of 4 adhesive anchors.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | TERMINAL-MXXL-A000 in Yellow orange (RAL 2000) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MXXL-A100 in Grey aluminium (RAL 9007) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

| Type: | TERMINAL-MXXL-A200 in White aluminium (RAL 9006) |  |  |  |
| --- | --- | --- | --- | --- |
| Quantity: | ……………… | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option attachment set BSS01

Installation material for screwing a barrier / a terminal / a post to the concrete foundation, consisting of 4 adhesive cartridges and screwing parts.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | BSS01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

Options for terminals

[Item: …………..]

Option special colour SL21

Side panels and hood in the same freely selectable colour: RAL ………….. (please fill in).

Front and rear panel in standard colour (Black grey, similar to RAL 7021)

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | SL21 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option special colour SL22

Side panels, hood, front and rear panel in the same freely selectable colour:
RAL ………….. (please fill in).

Slide-out front panels in standard colour (Black grey, similar to RAL 7021).

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | SL22 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option special colour SL23

Side panels and hood in a freely selectable colour: RAL ………….. (please fill in).

Front and rear panel in another freely selectable colour: RAL ………….. (please fill in).

Slide-out front panels in standard colour (Black grey, similar to RAL 7021).

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | SL23 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option special colour SL24

Side panels in freely selectable colour: RAL ………….. (please fill in).

Hood in freely selectable colour: RAL ………….. (please fill in).

Front and rear panel in freely selectable colour: RAL ………….. (please fill in).

Slide-out front panels in standard colour (Black grey, similar to RAL 7021).

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | SL24 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option code coin validator for profiled coins 25 mm

Mechanical code coin validator with closing contact for generating opening signals for barriers, gates, doors, etc.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CMP01-25 + suitable installation kit + if necessary interim floor ZB03 (for TERMINAL-MXL / MXXL) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option code coins 25 mm, profiled

Code coins suitable for CMP01-25, PU = 50 pieces.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CMZ012550 |  |  |  |
| Quantity: | ……………. | PU | UP: …………… | TP: …………… |

[Item: …………..]

Option code coin validator for profiled coins 27 mm

Mechanical code coin validator with closing contact for generating opening signals for barriers, gates, doors, etc.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CMP01-27 + suitable installation kit + if necessary interim floor ZB03 (for TERMINAL-MXL / MXXL) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option code coins 27 mm, profiled CMZ012750

Code coins suitable for CMP01-27, PU = 50 pieces.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CMZ012750 |  |  |  |
| Quantity: | ……………. | PU | UP: …………… | TP: …………… |

[Item: …………..]

Option code coin validator for punched coins 28 mm

Mechanical code coin validator with closing contact for generating opening signals for barriers, gates, doors, etc.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CMP01-28 + suitable installation kit + if necessary interim floor ZB03 (for TERMINAL-MXL / MXXL) |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option code coins 28 mm, punched CMZ012850

Code coins suitable for CMP01-28, PU = 50 pieces.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CMZ012850 |  |  |  |
| Quantity: | ……………. | PU | UP: …………… | TP: …………… |

[Item: …………..]

Option contactless access control unit ZKE01

RFID scanner for contactless code cards or code chips.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | ZKE01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option code cards ZKK0110

Code cards in ISO format, PU = 10 pieces.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | ZKK0110 |  |  |  |
| Quantity: | ……………. | PU | UP: …………… | TP: …………… |

[Item: …………..]

Option code chips ZKA0110

Non-contact code chips as key rings, PU = 10 pieces.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | ZKA0110 |  |  |  |
| Quantity: | ……………. | PU | UP: …………… | TP: …………… |

[Item: …………..]

Option code keyboard CT01

Code keyboard for entering up to 8-digit codes. Electrical closing contact for generating opening signals for barriers, gates, doors, etc.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | CT01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

Other accessories for terminals

[Item: …………..]

Option mounting plate 230 V MP20

Required for the installation of electrical accessories.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | MP20 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option installation kit MP_EIN (only Terminal MXL and MXXL)

For terminals MXL and MXXL, an installation kit for the MP20 mounting plate is required and must be ordered separately. Otherwise, installation is not possible. Two MP20 mounting plates can also be installed on the MXXL terminal. An MP_EIN installation kit is required for each one.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | MP_EIN |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option power supply 24V / 10W with connection cables VE24

Power supply for electronic components.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | VE24 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option mains voltage switch 230 V HSS20

2-pole mains voltage switch with connection cables and terminals.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | HSS20 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |

[Item: …………..]

Option heating blower 230 V / 550 W HZ01

Installation set with connection cables.

| Manufacturer: | MAGNETIC AUTOCONTROL GMBH |  |  |  |
| --- | --- | --- | --- | --- |
| Type: | HZ01 |  |  |  |
| Quantity: | ……………. | Piece(s) | UP: …………… | TP: …………… |