[Item: …………..]

Swing Gate Magnetic FlowMotion® mSwing

Electric motor driven swing gate for barrier-free access. Compact accommodation of drive and control system in the center column.

Function:

- Comfortable contact free usage

- Complete opening of swing door for a convenient passage

- Quick opening times (2,0 s – 5,5 s depending on wing size and material)

- Automatic closing after set time span

- 2-way operation in entry and exit direction

- Addition to other access control systems for barrier-free access or luggage and material transport

- Ideal for usage in escape routes

- Installation as single or double swing door with a total passage width of up to 2400 mm

- Integrated pulse counter with separate counting for both directions

- Error history (logs) for technical service

- Indoor and outdoor usage

- Random generator for checking persons and bags

Design:

- Design housing with flowing lines, slender silhouette and tender forms

- Floor illumination (option)

- No visible connection elements

- Decent colour design in basalt (sides) and anthracite (frame)

- Optional: customer-specific colours

Drive system/safety & security:

- Certified (TÜV Süd) low energy drive system (for maximum personal safety) with max. 1.69J, static opening and closing force max. 67N 
(according to prEN17352:2019, Performance Level d)ÖNORM EN 17352:2019-03-01

- Integrated MHTMTM drive system (brushless DC motor) for at least 10 million cycles (MCBF), certified according to EN 60335-2-103EN 60335-2-103:2015

- Duty cycle S1 (continuous operation), 100% according to DIN EN 60034OVE EN IEC 60034-1:2021-04-15

- Secure position or free rotation in case of alarm signal

- Free rotation in both directions in the case of power outage

- Automatic return to home position upon power return or reset of alarm signal

- Gate transmits warning notification in case of forced entry

Electric/Software: Integrated MGC control system with display for parameterization and set-up

- Functions and parameters can be activated and parameterized as well as switched via I/O connections: passage direction, hold-open time, passage direction indication, illumination options, behaviour in case of alarm, notification in case of forced entry

- Connection for 100 – 240 VAC, 50/60 Hz

- Connections for all current card reader systems

- 8 digital inputs with free allocable functions

- 4 digital outputs and 6 output relays for illumination control and status readout (freely allocable)

- 3 connector slots for extension modules

- Connectable via Ethernet interface

Housing:

- Aluminium profile with mDure varnishing

- Resistance against scratches, shocks and wear

- Resistant against corrosion, UV light, detergents and disinfectants

- Wing element made from glass,  acrylic glass or metal u-bar

- Protection class: IP54

Dimensions:

- Housing dimensions: 1092 x 178 mm (H x D)

- Passage width: 1000 mm (Standard) / 1200 mm (wide lane) / Specials on request

- Wing height: 994 mm (Standard) / 1800 mm (full-height version) / Specials on request

- Total unit dimension for standard passage width (1000 mm): 1118 x 178 x 1092 mm (W x D x H)

- Installation space for card reader in card reader post: 60 x 80 x 40 mm (W x H x D)

- Opening angle adjustable from 0° to 300°

Installation:

- Screw mounting on stable floor surface

- Alternative mounting on unfinished floor by use of adjustable foundation frame (see accessories)

- Alternative glue mounting by use of a metal base plate (see accessories)

- Paving stone mounting (see accessories)

- Platform (see accessories)

Temperature range: 		-30 to +55 °C

Weight:				approx. 40 kg

Installation execution by manufacturer trained installation specialist, including user training and hand-over of inspection manual, operation manual declaration of conformity according to EC machinery directive/ low voltage directive, EMC directive

Swing door FlowMotion® mSwing for glass panel

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	mSwing FMSW_MG

Passage width: …………..				Wing height: …………..

Material of wing element (glass/ acrylic): …………..

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Swing door FlowMotion® mSwing for U-bar

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	mSwing FMSW_MU

Passage width: …………..				Wing height: …………..

Material of wing element (U-bar): …………..

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Options for Swing Gate Magnetic FlowMotion® mSwing

[Item: …………..]

Option Special colour SL100

Customer colour, other elements always in anthracite

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		SL100

Colourtype: …………..    Number: …………..      Unit: pieces	Unit price: …………..	Total: …………..

Glass panel/arms

[Item: …………..]

Option glass panel in standard size: 994 x 1000 mm (height “A” x passage width “P”)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_G10E950

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glass panel in standard size: 1200 x 1000 mm (height “A” x passage width “P”)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_G12E950

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glass panel in standard size: 1500 x 1000 mm (height “A” x passage width “P”)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_G15E950

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glass panel full-height standard: 1800 x 1000 mm (height “A” x passage width “P”)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_G18E950

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glass panel with special dimensions, maximum 1800 x 1000 mm or 994 x 1200 mm (height “A” x passage width “P”)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_GESPC

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glass edge protection, black, for FMSW_G10E950, 1 piece

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	GKS103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option U-bar D = 950 mm / P = 1000 mm mSwing

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_U950

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option U-bar D = 1100 mm / P = 1150 mm mSwing

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_U1100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option U-bar D = 1800 mm / P = 1850 mm mSwing

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_U1800

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option U-bar special dimension D max. = 1800 mm mSwing

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMSW_USPC

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Illumination

[Item: …………..]

Option cover illumination red/green

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	RLED103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option Floor illumination white
LED floor illumination as design light. Can be switched on/off.

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	BOLED103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option extra charge for installation of illumination (once per option)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	EP110

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Sensors/buzzers

[Item: …………..]

Option internal buzzer, puls signal/continuous signal

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	ESU103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mounting charge for accessories (once per option)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	EP113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Interfaces

[Item: …………..]

Option extension board for interface modules

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	MEB103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option Ethernet interface as plug-in module, requires MEB103

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	EM01

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Emergency push button

[Item: …………..]

Option emergency push button, without cables 230 V AC / 24 V DC incl. type examination certificate (TÜV) for escape and rescue route approval

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	NT102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option emergency push button for flush-mounted installation, without cables 230 V AC / 24 V DC incl. type examination certificate (TÜV) for escape and rescue route approval

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	NT104

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Service Module

[Item: …………..]

Option Service module for updating the controller software and parameters

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	SM01

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

External desk panel

[Position: …………..]

Option Desk panel 1 channel for the control of 1 device

Manufacturer: 	Magnetic Autocontrol GmbH

Type: 		PULT01

Menge: …………..      Einheit: St		EP: …………..	GP: …………..

[Item: …………..]

Option Desk panel 2 channel for the control of 2 devices

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	PULT02

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Foundation options

Option 1: direct mounting

[Item: …………..]

Option Mounting set for mounting on finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	BSS103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 2: Assembly on unfinished concrete floor

[Item: …………..]

Option foundation frame FlowMotion®, bridging structure for assembly under heating/floor screed and glue solution

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FURA103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option Installation set FlowMotion® for mounting on foundation frame

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	BSSFURA103

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 3: glue based fixing

[Item: …………..]

Option foundation frame FlowMotion®, bridging structure for assembly under heating/floor screed and glue solution

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FURA113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option glue cartridge FlowMotion for fixing to a finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	BSSFURA100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 4: paving stone assembly

[Item: …………..]

Option foundation frame, for usage with paving stones, height = 150 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FURA113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option mounting set for mounting on finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FURA113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 5: platform

[Item: …………..]

Option platform stainless steel, mSwing, for glass/u-bar till 1000 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMMS_SW

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..