[Item: …………..]

Speed Gate Magnetic FlowMotion® Wing Gate mWing

Electric motor driven wing gate (speed gate) for barrier-free access for access control in office, industry and administration buildings.

Function:

- Comfortable contact free usage

- Complete opening of swing door for a convenient passage, no protruding parts in the passage

- Quick opening times (depending on wing size and material, according to prEN17352:2019)

- Open gate function (swing doors always open and only close on invalid entry)

- Automatic closing after set time

- 2-way operation in entry and exit direction, including red/green arrow (line indicator GED)

- Integrated pulse counter with separate counting for both directions

- Error history (logs) for technical service

- For indoor and outdoor installation

- Random generator for checking persons and bags

Design:

- Design housing with flowing lines, slim silhouette and tender forms

- Surface mounted light, frame illumination and floor illumination (option)

- No visible connection elements or locks

- Decent colour design in basalt (sides) and anthracite (frame)

- Optional: customer-specific colours

Drive system/safety & security:

- Certified (TÜV Süd) low energy drive system (for maximum personal safety) with max. 1.69J, static opening and closing force max. 67N 
(according to prEN17352:2019, Performance Level d)ÖNORM EN 17352:2019-03-01

- Integrated MHTMTM drive system (brushless DC motor) for at least 10 million cycles (MCBF), certified according to EN 60335-2-103 EN 60335-2-103:2015Duty cycle S1 (continuous operation), 100% according to DIN EN 60034-1 OVE EN IEC 60034-1:2021-04-15

- Automatic opening in case of emergency alarm/power failure (without springs or batteries)

- Free swinging doors (between <15N (standard wing and <55N (high wing)) in case of power failure and automatic approach to home position when power is restored

- Interlock blocks the swing doors in case of non-validated passage, vandalism, etc.

- No under-crawling or over-climbing through different wing height options of up to 1800 mm

- Detection of simultaneous passage of 2 persons (tailgating)

- Detection of passage in the opposite release direction (wrong way)

- 	  Detection of entry without release (intrusion)

Escape and rescue route approval:

The products have been tested according to the following guidelines/standards:

- According to EltVTR (Directive on electrical locking systems for doors in escape routes). This is currently still the valid standard for Germany.

- DIN EN 13637EN 13637:2015 (locks and building hardware - electrically controlled escape door systems for doors in escape routes - requirements and test methods). This applies to Europe, but has not yet been published in the Official Journal of the European Union.

Electric/Software:

- Integrated MGC control system with display for parameterization and set-up

- Safety paths certified according to DIN EN 13849-1 Performance Level dÖNORM EN ISO 13849-1:2016-06-15

- Function controlled via digital inputs and outputs: emergency release, direction of passage, hold-open time, direction of passage indication, lighting options, random generator, behaviour in case of emergency, warning message in case of forced passage

- Connection for 100 – 240 VAC, 50/60 Hz

- Control with all common card readers, PULT02, on-site contacts (e.g. switch, fire alarm system)

- 8 digital inputs with free allocable functions

- 4 digital outputs and 6 output relays for illumination control and status readout (free allocable)

- 3 plug-in card slots for expansion modules

- USB and LAN connection for firmware update and remote access as standard

- Integrated web server for configuring the control

- Service switch, for deactivating the inputs during service work on the barrier

Material:

- Housing: 2 component-polyurethane mDure

- Highly resistant to impacts, scratches and abrasion

- Resistant against corrosion, UV light, detergents and disinfectants. UL tested according to UL0746C f1 (yellow card E 83364)

- Fire behaviour: tested according to UL-94 V0 and UL 0746C

- Environmentally friendly disposal as household garbage

- Enclosure protection rating: IP54 (according EN 60529)OVE EN 60529/AC2:2019-07-01

- Blocking element: single-layer safety glass according EN 12150-1, laminated glass according EN ISO 12543-1 ÖNORM EN ISO 12543-1:2011-11-01 und EN ISO 12543-2ÖNORM EN ISO 12543-2:2011-11-01 or acrylic glass EN ISO 179-1ÖNORM EN ISO 179-1:2010-09-01

Dimensions:

- Housing dimensions: 1300 x 1050 x 180 (L x H x D)

- Passage width: 520 mm / 600 mm (Standard) / 900 mm (wide lane) / 960 mm / Specials on request

- Wing height: 888 mm (Standard) / 1800 mm (full-height version) / Specials on request

- Total width for standard passage width: 960 mm

- Installation space for card reader in card reader post: 60 x 80 x 40 mm (W x H x D)

Installation:

- Screw mounting on stable floor surface

- Alternative mounting on unfinished floor by use of adjustable foundation frame (see accessories)

- Alternative glue mounting by use of a metal base plate (see accessories)

- Paving stone mounting (see accessories)

- Platform (see accessories)

Temperature range: 		-30 to +55 °C

Weight:				approx. 120 kg

Installation execution by manufacturer trained installation specialist, including user training and hand-over of inspection manual, operating manual declaration of conformity according to EC machinery directive/ low voltage directive, EMC directive.

mWing version

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	mWing B-Module (Master) FMWI_BL

For passage width of: …………..				Wing height: …………..

Material of wing element (glass/ acrylic): …………..

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	mWing A-Module (Slave) FMWI_AL

For passage width of: …………..				Wing height: …………..

Material of wing element (glass/ acrylic): …………..

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	mWing C-Module (Center) FMWI_CL – model 1

For passage width of (master side): …………..		For passage width of (master side): …………..

Wing height: …………..		Material (glass/ acrylic): …………..

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Option Special colour SL100

Customer colour front- and backpanel, other elements in anthracite

Manufacturer:	Magnetic Autocontrol GmbH

Typ: 		SL100

Colour code: …………..    Number: …………..      Unit: pieces	Unit price: ……	Total: …………..

Glass panels (specification height x passage width)

[Item: …………..]

Glass panel XS (1 pc.), 888 x 520 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G10E520

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel standard width (1 pc.), 888 x 600 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G10E600

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel wide lane (1 pc.), 888 x 900 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G10E900

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel XXL (1 pc.), 888 x 960 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G10E960

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel full-height XS (1 pc.), 1800 x 520 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E520

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel full-height standard width (1 pc.), 1800 x 600 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E600

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel full-height wide lane (1 pc.), 1800 x 900 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E900

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel full-height XXL (1 pc.), 1800 x 960 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E960

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Special size glass panel with anti-climb protection (1 pc.), 1800 x 520 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E520S

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Special size glass panel with anti-climb protection (1 pc.), 1800 x 600 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E600S

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Special size glass panel with anti-climb protection (1 pc.), 1800 x 900 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E900S

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Special size glass panel with anti-climb protection (1 pc.), 1800 x 960 mm, requires EHWI102

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_G18E960S

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Glass panel with special dimensions (1 pc.), max. 1800 x 960 mm, requires EHWI102 for H > 888 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FMWI_GESPC

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Extension kit for high wings > 888 mm (surcharge)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	EHWI102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Options for Speed Gate Magnetic FlowMotion® Wing Gate

Front plates

[Item: …………..]

Option front plate FP104
Front plate with RFID symbol (1 pc.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FP104

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option front plate FP105
Front plate with cut out for NT104 incl. mounting frame (1 pc.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FP105

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option HUL100
Mounting frame for flush-mounted badge reader (d = 60 mm), bulk delivery (2 pcs.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	HUL100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option DT100

Illuminated push-button for release of passage by keystroke (per module and passage direction), plus optional mounting charge EP113

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	DT100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item: …………..]

Option EP113
Mounting charge for accessories (per option once)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	EP113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Holder for external devices support

For retrofit

[Item: …………..]

Option LHAF100
Supporting flange for the gate – for retrofit

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	LHAF100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option LHAR100
Fastening tube adjustable 115 - 135 mm for reader device – for retrofit

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	LHAR100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Factory assembly

[Item …………..]

Option LHAR100
Fastening tube adjustable 115 - 135 mm for reader device, plus EP113 – factory assembly

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	LHAR100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option EP113
Mounting charge for accessories (once per option) – factory assembly

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	EP113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Accessory for reader device

[Item: …………..]

Option LHAP100
Standard top mounting for reader device – accessory for reader device

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	LHAP100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Coin Validator

[Item …………..]

Option AUG200
Body housing empty – coin validator

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	AUG200

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option AUG201
Body housing, incl. coin validator mechanical – coin validator

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	AUG201

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option CMZ012750
Token, diameter 27 mm, with groove (50 pieces), for AUG201 – coin validator

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	CMZ012750

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Illumination

[Item …………..]

Option DLED100
Function has to be indicated at order: Signal LED for indication of random generator trigger or GED extension red/green, plus EP110 - function must be specified when ordering, no supply unit required

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	DLED100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option EP110 
Extra charge for installation of illumination (once per option)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		EP110

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option RLED102
Frame edge illumination red/green, per lane, plus EP110 1 x for AL/BL and 2 x for CL – VE107 needed

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		RLED102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option BOLED102 
Floor illumination white, mWing, per module, plus EP110 – VE107 needed

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BOLED102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option VE107 
Power supply unit mWing, one VE107 can supply all electric options

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		VE107

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option EP110 
Extra charge for installation of illumination (once per option)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		EP110

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Sensors / buzzers, no power supply VE107 required

[Item …………..]

Option ESU102 
Internal buzzer, puls signal/continuous signal, plus EP113

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		ESU102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option EP113 
Mounting charge for accessories (once per option)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		EP113

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Accessories for Speed Gate Magnetic FlowMotion® Wing Gate

Emergency push button

[Item …………..]

Option NT102
Emergency push button, without cables 230 VAC / 24 V DC incl. type examination certificate (TÜV) for escape and rescue route approval

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		NT102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option NT104
Emergency push button for flush-mounted installation, without cables 230 VAC / 24 V DC incl. type examination certificate (TÜV) for escape and rescue route approval

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		NT104

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

External desk panel

[Item …………..]

Option PULT01 
Desk panel 1 channel for the control of 1 device

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		PULT01

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………. [Item …………..]

Option PULT02 
Desk panel 2 channel for the control of 2 devices

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		PULT02

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Foundation options

[Item: …………..]

Accessory ARS100

Metal drilling and alignment device for FlowMotion®, (mTripod ML/MS, mWing)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	ARS100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 1: direct mounting

[Item …………..]

Option BSS100 
Mounting set for installation on finished floor surface - Option 1: direct mounting

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 2: Assembly on unfinished concrete floor

[Item …………..]

Option FURA100 
Foundation frame FlowMotion®, bridging structure for assembly under heating/floor screed and glue solution - Option 2: Assembly on unfinished concrete floor

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FURA100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option BSSFURA100 
Threads and metal base plate - Option 2: Assembly on unfinished concrete floor

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSSFURA100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 3: glue based fixing

[Item …………..]

Option FURA100 
Foundation frame FlowMotion® long (ML), bridging structure for floor heating/floor screed and glue solution - Option 3: glue based fixing

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FURA100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option BSSKL100 
Glue cartridge FlowMotion® for fixing of FURA100/101 to a finished floor surface - Option 3: glue based fixing

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSSKL100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 4: paving stone assembly

[Item …………..]

Option FURA102 
Foundation frame FlowMotion® long (ML), for usage with paving stones, height = 150 mm - Option 4: paving stone assembly

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FURA102

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

[Item …………..]

Option BSS100 
Mounting set for installation on finished floor surface - Option 4: paving stone assembly

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS100

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Option 5: Platform

[Item …………..]

Option FMMS_WI
Platform stainless stell, mWing for glass FMWI_G10E600, 1 passage - Option 5: platform

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FMMS_WI

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..

Item …………..]

Option FMMS_WIW
Platform stainless stell, mWing for glass FMWI_G10E900, 1 passage - Option 5: platform

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FMMS_WIW

Number: …………..      Unit: pieces		Unit price: …………..	Total: …………..