[Item: …………..]

mPost

Card reader column FlowMotion® mPost 
Card reader column for validating a passage in combination with, for example, the swing door mSwing.

Design:

mPost:

- Design housing with flowing lines, slim silhouette and soft shapes.

- No visible connecting elements

- Elegant colour design in basalt anthracite

- Optional: customised lacquer finishes

mPost small:

- Slim silhouette in stainless steel, ideal complement to mGuide

Material:

- Housing: lacquered aluminium, small post: stainless steel.

- High impact, scratch and abrasion resistance

- Resistant to corrosion, UV radiation, disinfectants and cleaning agents

- Recyclable

- Protection class: IP54

Dimensions:

- Housing dimension:

  - FMPO_ES: 1090 x 183 mm

  - FMPO_SM: 1030 x 42,4 mm (H x D post)

- Einbauraum für Kartenleser in Kartenlesersäule bei FMPO_ES: ca. 100 x 90 x 50 mm (B x T x H)

Installation:

- Screw mounting on stable floor surface

- Alternative mounting on unfinished floor by use of adjustable foundation frame (see accessories)

- Alternative glue mounting by use of a metal base plate (see accessories)

- Paving stone mounting (see accessories)

Temperature range: 		-30 to +55 °C

Weight:				mPost approx. 20 kg per module

mPost small approx. 5 kg per module

Installation execution by manufacturer trained installation specialist, mounting instructions

[Item: …………..]

Card reader column FlowMotion® mPost

Card reader column for validating a passageway in combination with, for example, the swing door mSwing. Elegant colour design in basalt anthracite or customised lacquering. 
Housing dimension: 1090 x 183 mm (H x D).

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FMPO_ES

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Card reader column FlowMotion® mPost small
Card reader column for validating a passageway in combination with, for example, the swing door mSwing in stainless steel 1030 x 42.4 mm (H x D tube).

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FMPO_SM

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Special colour

[Item: …………..]

Option special colour for outer tube FMPO_ES, other elements in Anthracite

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		SL104

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Front plates/mounting frames

[Item: …………..]

Option hood mPost with white RFID symbol (1 pc.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FP113

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option hood mPost with white RFID symbol, special colour (1 pc.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 	FP1X3

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option hood mPost with cut out for NT104 incl. mounting frame (1 pc.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FP106

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option hood mPost with cut out for NT104 incl. mounting frame, special colour (1 pc.)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FP1X6

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Emergency push button

[Item: …………..]

Option assembly kit emergency push button, incl. emergency push button, without cables 230 V AC / 24 V DC incl. type examination certificate (TÜV) for escape and rescue route approval mWing and mSwing (not for mTwing)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		NT103

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option emergency push button for flush-mounted installation, without cables 230 V AC / 24 V DC incl. type examination certificate (TÜV) for escape and rescue route approval mWing and mSwing (not for mTwing)

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		NT104

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Foundation options

Option 1: direct mounting

[Item: …………..]

Option mounting set for one guiding post at finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS101

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option mounting set for mounting on finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS103

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Option 2: Assembly on unfinished concrete floor

[Item: …………..]

Option foundation frame FlowMotion®, bridging structure for assembly under heating/floor screed and glue solution

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FURA103

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option mounting set FlowMotion® for mounting on foundation frame

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSSFURA103

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Option 3: glue based fixing

[Item: …………..]

Option foundation frame FlowMotion®, bridging structure for assembly under heating/floor screed and glue solution

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FURA103

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option glue cartridge FlowMotion® for fixing to a finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSSKL100

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

Optionen 4: paving stone assembly

[Item: …………..]

Option foundation frame, for usage with paving stones, H = 150 mm

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		FURA113

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..

[Item: …………..]

Option mounting set for mounting on finished floor surface

Manufacturer:	Magnetic Autocontrol GmbH

Type: 		BSS103

Number: …………..      Unit: pieces			Unit price: …………..	Total: …………..